**BULLETIN NO. 230102**

**Technical Bulletin**

**DATE:** 1-20-23

**PRODUCT: Aluminum Condensing Boiler**

**FROM:** Technical Service Department

**TITLE: Control Board Plugs Switched**

MODELS AFFECTED:

|  |
| --- |
| Utica UB90’s 75-200 |

SITUATION: Molex plug connections for the blower & circulator are switched on control board part # 14662803. This effects service parts only.

SOLUTION: If you have received a control board where the plugs are switched, please contact ECR customer service @ 1-800-228-9364 or ECR web portal to arrange a warranty return. We apologize for any inconvenience this may cause.



Incorrect Locations

Correct Locations